## BoQ1 (hidden)
Item Wise BoQ | [13 empty] | 15
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Assam Gas Company Limited, Duliajan
Name of Work: PROCUREMENT OF ONLINE GAS CHROMATOGRAPH
Contract No: AGCL/INST/OGC/2024/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (DOMESTIC TENDERS - RATES ARE TO GIVEN IN RUPEES (INR) ONLY) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE including freight (including unloading & stacking) In Figures To be entered by the Bidder in Rs. P | Excise Duty Amount in INR Rs. P | GST Amount on TOTAL AMOUNT at Col (13) INR Rs. P | Total Freight Charges ( Unloading & Stacking) in Rs. P | GST Amount on Total Freight Charges in Rs. P | Any Other Duties/Levies in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes col (13) = (4) x (7) in Rs. P | TOTAL AMOUNT With Taxes col (14) = sum (8) to (13) in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 8 | 9 | 10 | 11 | 12 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 13 | 14 | 15
1 | SERVICE PORTION | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Supply, Supervision of Installation, Testing and Commissioning of Online Gas Chromatograph Package at AGCL Industrial Area Duliajan consisting of the following: • • Retractable Sample Probe of 3” Size positioned at 12 ‘O’ clock position, • Sample Tubing of 40 Meter, • Pressure regulators, • Sample Handling System, • Field Mounted Gas Chromatograph Analyzer unit installed in three side analyzer shed, • Panel Mounted Controller. • HMI along with all required hardware and softwares to be provided in control room • All the signals shall be interfaced with existing RTU installed in the control room. • 3-Stream online gas chromatograph with auto Selection (Presently 2-Sample Streams and 1-Stream without Sample Probe, the vendor shall consider all the components). • Carrier Gas supply for two years. • Gas Chromatograph shall have Packed/Capillary Type column. • Gas Chromatograph shall be provided with 2 Nos. Vents - 1 No. for GC outlet and 1 No. for Fast Loop with Flame Arrestor. • 2 Years of Consumable Items shall be in OEM’s Scope. • Item to be Supplied for Sample probe Installation for 2 streams- 1. 1.5" Weldolet as per Pipe Schedule 2. 1.5" OD CS Pipe9 3.1.5" 300# WNRF Flange weldolet 4. 1.5" X 300# Full Bore Ball Valve 5. SS 316 X 1.5" 300#, Blind Flange with 3/4" NPTF Thread in Center. 6. Gaskets and Studbolts as per the installation requirements 7. SS316 1/8'' OD SS Tube-qty:30meters for each stream and total stream will be 2. 8. Sample probe for 2 streams - online retractable type sample probe for under pressure pipe installation and maintenance . 9.Moisture filter. • The analytical/analyzer unit shall separate all components sufficiently from each other so all components present in the process gas are detected with sufficient accuracy. Detector type should be Thermal conductivity Detector (TCD). • The unit shall control the chromatograph. Program software, interfaces and protocol should be robust with special consideration concerning automatic regeneration of all control and communicational functions after the event of a general power failure. controller unit is an integral part of GC consisting analytical unit. This control unit should be integral part of GC and should be within same housing. • Analysis Time- Less than 5 minutes. | Item 1 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | Supply, Supervision of Installation, Testing and Commissioning of Online Gas Chromatograph Package at AGCL Lakwa ‘O’ Point, Maibella consisting of the following: • • Retractable Sample Probe of 3” Size positioned at 12 ‘O’ clock position, • Sample Tubing of 40 Meter, • Pressure regulators, • Sample Handling System, • Field Mounted Gas Chromatograph Analyzer unit installed in three side analyzer shed, • Panel Mounted Controller. • HMI along with all required hardware and softwares to be provided in control room • All the signals shall be interfaced with existing RTU installed in the control room. • 3-Stream online gas chromatograph with auto Selection (Presently 2-Sample Streams and 1-Stream without Sample Probe, the vendor shall consider all the components). • Carrier Gas supply for two years. • Gas Chromatograph shall have Packed/Capillary Type column. • Gas Chromatograph shall be provided with 2 Nos. Vents - 1 No. for GC outlet and 1 No. for Fast Loop with Flame Arrestor. • 2 Years of Consumable Items shall be in OEM’s Scope. • Item to be Supplied for Sample probe Installation for 2 streams- 1. 1.5" Weldolet as per Pipe Schedule 2. 1.5" OD CS Pipe9 3.1.5" 300# WNRF Flange weldolet 4. 1.5" X 300# Full Bore Ball Valve 5. SS 316 X 1.5" 300#, Blind Flange with 3/4" NPTF Thread in Center. 6. Gaskets and Studbolts as per the installation requirements 7. SS316 1/8'' OD SS Tube-qty:30meters for each stream and total stream will be 2. 8. Sample probe for 2 streams - online retractable type sample probe for under pressure pipe installation and maintenance . 9.Moisture filter. • The analytical/analyzer unit shall separate all components sufficiently from each other so all components present in the process gas are detected with sufficient accuracy. Detector type should be Thermal conductivity Detector (TCD). • The unit shall control the chromatograph. Program software, interfaces and protocol should be robust with special consideration concerning automatic regeneration of all control and communicational functions after the event of a general power failure. controller unit is an integral part of GC consisting analytical unit. This control unit should be integral part of GC and should be within same housing. • Analysis Time- Less than 5 minutes. | Item 2 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Supply, Supervision of Installation, Testing and Commissioning of Online Gas Chromatograph Package at AGCL Station NRL Golaghat consisting of the following: • • Retractable Sample Probe of 3” Size positioned at 12 ‘O’ clock position, • Sample Tubing of 40 Meter, • Pressure regulators, • Sample Handling System, • Field Mounted Gas Chromatograph Analyzer unit installed in three side analyzer shed, • Panel Mounted Controller. • HMI along with all required hardware and softwares to be provided in control room • All the signals shall be interfaced with existing RTU installed in the control room. • 3-Stream online gas chromatograph with auto Selection (Presently 2-Sample Streams and 1-Stream without Sample Probe, the vendor shall consider all the components). • Carrier Gas supply for two years . • Gas Chromatograph shall have Packed/Capillary Type column. • Gas Chromatograph shall be provided with 2 Nos. Vents - 1 No. for GC outlet and 1 No. for Fast Loop with Flame Arrestor. • 2 Years of Consumable Items shall be in OEM’s Scope. • Item to be Supplied for Sample probe Installation for 2 streams- 1. 1.5" Weldolet as per Pipe Schedule 2. 1.5" OD CS Pipe9 3.1.5" 300# WNRF Flange weldolet 4. 1.5" X 300# Full Bore Ball Valve 5. SS 316 X 1.5" 300#, Blind Flange with 3/4" NPTF Thread in Center. 6. Gaskets and Studbolts as per the installation requirements 7. SS316 1/8'' OD SS Tube-qty:30meters for each stream and total stream will be 2. 8. Sample probe for 2 streams - online retractable type sample probe for under pressure pipe installation and maintenance . 9.Moisture filter. • The analytical/analyzer unit shall separate all components sufficiently from each other so all components present in the process gas are detected with sufficient accuracy. Detector type should be Thermal conductivity Detector (TCD). • The unit shall control the chromatograph. Program software, interfaces and protocol should be robust with special consideration concerning automatic regeneration of all control and communicational functions after the event of a general power failure. controller unit is an integral part of GC consisting analytical unit. This control unit should be integral part of GC and should be within same housing. • Analysis Time- Less than 5 minutes. | Item 3 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information